# Courtyard

8'-10" (271cm)

2 dial post clock. Cast aluminum saddle and Howard header. Aluminum bezels and case. Manual set at clock. White LED edge lighting controlled by a photoelectric cell. Aluminum dials painted matte bright white. Black dial markings and hands. Forest green finish. Single source: Clock and movement to be manufactured by the same company. Options–remote reset control–lettering on header–different dial markings and hands. Clock to be as manufactured by Electric Time Company, Inc., 97 West Street, Medfield, MA, USA (508)-359-4396/(800)-531-2562 FAX (508)-359-4482 – http://www.electrictime.com – sales@electrictime.com